## 2017-2018
EMSO-Azores - Data of temperature probes 2018-2019 - Oceanographic cruises: MOMARSAT 2018, MOMARSAT 2019
Cannat, Wheeler, Fontaine, Chen; Sarradin
Latitude/longitude given from the BUC ROV
Site Instrument name* | Deployment Time | Deployement dive number | Recovery Time | Recovery dive number | lon’ dec W | lat’dec N | Depth (m) | Serial Number** | Sampling frequency (min)** | Clock Drift*** (sec) | Comments | Name of raw data file (.txt)
*=HT/LT for High/Low temperature, W/NKE for manufacturer (WHOI/NKE respectively), N for new (HTWN is a more recent model than HTW), number=probe's number
**=HTW probes have 2 data loggers (A and B) with their own serial number and sampling frequency, HTWN have also a serial number for the probe tip
***= Clock drift △t = UTC_Time - Logger_Time
Capelinhos
HTW001 | 2018-08-13 | 698-3 | 2019-06-19 | 1945-7 | -32.26394 | 37.28936 | 1658 | A: 2256900 | 14 | 818 |  | CA_V00_180813_190619_HW001A
| 8:15 |  | 14:31 |  |  |  |  | B: 20104783 | 4 | 106 |  | CA_V00_180813_190619_HW001B
Cimendef
HTW005 | 2018-08-14 | 699-4 | 2019-06-17 | 1943-5 | -32.2759 | 37.2879 | 1696 | A: 20153592 | 6 | Memory Full | Stopped the 27/03/19 | CI_V00_180814_190617_HW005A
| 23:08 |  | 16:39 |  |  |  |  | B: 2256893 | 14 | 808 |  | CI_V00_180814_190617_HW005B
Crystal
HTWN011 | 2018-08-21 | 705-10 | 2019-06-15 | 1942-4 | -32.282 | 37.2907 | 1721 | ONSET T° : 108881316 | 4 | 186 |  | CR_V00_180821_190615_HWN011
| 21:11 |  | 13:01 |  |  |  |  | Tip: 2016-002-011 (Type J)
Montségur
HTWN021 | 2018-08-14 | 703-8 | 2019-06-13 | 1943-2 | -32.2756 | 37.288 | 1699 | ONSET T° : 10858922 | 4 | 98 |  | MS_V00_180814_190613_HWN021
| 22:36 |  | 16:11 |  |  |  |  | Tip: 2016-002-021 (Type J)
HTNKE29014 | 2018-08-17 | 701-6 | 2019-06-13 | 1943-2 | -32.2757 | 37.288 | 1699 | 29014 | 1.5 |  | Stopped the 15/09/18 | MS_V00_180817_190613_HN29014
| 9:51 |  | 15:55
HTNKE30015 | 2018-08-22 | 705-10 | 2019-06-21 | 1947-9 | -32.2757 | 37.288 | 1700 | 30015 | 1.5 | 380 |  | MS_V00_180822_190621_HN30015
| 1:11 |  | 14:48
HTNKE30012 | 2018-08-13 | 698-3 | 2019-06-25 | 1950-12 | -32.2811 | 37.2899 | 1711 | 30012 | 1.5 | 437 |  | MS_V00_180813_190625_HN30012
| 13:24 |  | 15:28
LTW018 | 2018-08-17 | 701-6 | 2019-06-13 | 1943-2 | -32.2757 | 37.288 | 1699 | 9935635 | 14 |  | Stop the 13/11/18 | MS_V00_180817_190613_LW018
| 10:02 |  | 16:00
Sapin
HTNKE29020 | 2018-08-14 | 698-3 | 2019-06-21 | 1947-9 | -32.2823 | 37.2905 | 1718 | 29020 | 1.5 | 348 |  | SA_V00_180814_190621_HN29020
| 1:44 |  | 17:06
Sintra
HTNKE30002 | 2018-08-18 | 702-7 | 2019-07-01 | 1956-18 | -32.2751 | 37.2921 | 1614 | 30002 | 1.5 | 559 |  | SI_V00_180818_190701_HN30002
| 23:17 |  | 13:35
South Crystal
HTW008 | 2018-08-17 | 701-6 | 2019-06-21 | 1947-9 | -32.2822 | 37.2906 | 1719 | A: 20153598 | 6 | full |  | SC_V00_180817_190621_HW008A
| 17:32 |  | 16:09 |  |  |  |  | B: 2256892 | 14 | 890 |  | SC_V00_180817_190621_HW008B
HTNKE30005 | 2018-08-17 | 701-6 | 2019-06-21 | 1947-9 | -32.2822 | 37.2906 | 1720 | 30005 | 1.5 | 919 |  | SC_V00_180817_190621_HN30005
| 17:46 |  | 16:53
HTNKE30014 | 2018-08-17 | 701-6 | 2019-06-21 | 1947-9 | -32.2821 | 37.2905 | 1720 | 30014 | 1.5 | 621 |  | SC_V00_180817_190621_HN30014
| 18:05 |  | 17:06
LTW003 | 2018-08-17 | 701-6 | 2019-06-21 | 1947-9 | -32.2821 | 37.2906 | 1720 | 10493244 | 14 | 465 |  | SC_V00_180817_190621_LW003
| 17:40 |  | 16:56
Tour Eiffel
HTW019 | 2018-08-11 | 696-1 | 2019-06-18 | 1944-6 | -32.2755 | 37.2888 | 1682 | A: 20153593 | 4 | 99 |  | TE_V00_180811_190618_HW019A
| 4:37 |  | 11:01 |  |  |  |  | B: 20104780 | 4 | 49 |  | TE_V00_180811_190618_HW019B
HTNKE29012 | 2018-08-20 | 703-8 | 2019-06-18 | 1944-6 | -32.2756 | 37.2892 | 1689 | 29012 | 1.5 | 1306 |  | TE_V00_180820_190618_HN29012
| 1:32 |  | 12:54
HTNKE29009 | 2018-08-24 | 707-12 | 2019-06-18 | 1944-6 | -32.2757 | 37.2888 | 1691 | 29009 | 1.5 | 410 |  | TE_V00_180824_190618_HN29009
| 6:05 |  | 14:26
HTNKE30001 | 2018-08-24 | 707-12 | 2019-06-18 | 1944-6 | -32.2758 | 37.2889 | 1690 | 30001 | 1 | 553 |  | TE_V00_180824_190618_HN30001
| 6:32 |  | 14:36
HTNKE29008 | 2018-08-24 | 707-12 | 2019-06-25 | 1950-12 | -32.2758 | 37.2888 | 1692 | 29008 | 1.5 | 795 |  | TE_V00_180824_190625_HN29008
| 6:25 |  | 13:53
LTW040 | 2018-08-20 | 703-8 | 2019-06-18 | 1944-6 | -32.2755 | 37.289 | 1690 | 10432656 | 14 |  | Low battery | TE_V00_180820_190618_LW040
| 3:05 |  | 14:12 | [7 empty] | Stop the 22/08/18
LTW020 | 2018-08-20 | 703-8 | 2019-06-18 | 1944-6 | -32.2758 | 37.2891 | 1693 | 9935637 | 14 |  | Low battery | TE_V00_180820_190618_LW020
| 2:39 |  | 14:57 | [7 empty] | Stop the 11/02/19
LTGrad10 | 2018-08-22 | 705-10 | 2019-06-18 | 1944-6 | -32.2755 | 37.2889 | 1689 | LTiB19: 710000005763FB41 | 1 | -833 |  | TE_V00_180822_190618_LB0019
| 0:14 |  | 13:15 |  |  |  |  | LTiB20: 350000005761BD41 | 1 | -890 |  | TE_V00_180822_190618_LB0020
LTGrad7 | 2018-08-22 | 705-10 | 2019-06-18 | 1944-6 | -32.2754 | 37.2887 | 1701 | LTiB13: 2E0000005758AC41 | 1 | -994 |  | TE_V00_180822_190618_LB0013
| 0:36 |  | 13:46 |  |  |  |  | LTiB14: 3B00000057681541 | 1 | -1434 |  | TE_V00_180822_190618_LB0014
LTGrad11 | 2018-08-22 | 705-10 | 2019-06-18 | 1944-6 | -32.2753 | 37.2889 | 1700 | LTiB21: F2000000576A1841 | 1 | -820 |  | TE_V00_180822_190618_LB0021
| 0:49 |  | 13:54 |  |  |  |  | LTiB22: 9700000057631141 |  | Dead | Took water
LTGrad5 | 2018-08-20 | 703-8 | 2019-06-18 | 1944-6 | -32.2755 | 37.289 | 1690 | LTiB9: 97000000575E2641 | 1 | -968 |  | TE_V00_180820_190618_LB0009
| 3:12 |  | 14:08 |  |  |  |  | LTiB10: 1A00000057624341 | 1 | -1058 |  | TE_V00_180820_190618_LB0010
LTGRad12 | 2018-08-24 | 707-12 | 2019-06-18 | 1944-6 | 32°16.5441 | 37°17.3302 | 1692 | LTiB23: C6000000584AE741 | 2 | -1220 |  | TE_V00_180824_190618_LB0023
| 6:13 |  | 14:31 |  |  |  |  | LTiB24: 270000005852FC41 | 2 | -1099 |  | TE_V00_180824_190618_LB0024
LTGrad8 | 2018-08-21 | 705-10 | 2019-06-18 | 1944-6 | -32.2758 | 37.289 | 1694 | LTiB15: 940000005758EG41 | 1 | -990 |  | TE_V00_180821_190618_LB0015
| 23:53 |  | 14:50 |  |  |  |  | LTiB16: BB00000057673641 | 1 | -1035 |  | TE_V00_180821_190618_LB0016
LTGrad9 | 2018-08-21 | 705-10 | 2019-06-18 | 1944-6 | -32.2758 | 37.2891 | 1693 | LTiB17: DF00000057621641 | 1 | -6319848 | Clock problem | TE_V00_180821_190618_LB0017
| 23:59 |  | 14:55 |  |  |  |  | LTiB18: 6500000057640A41 | 1 | -517 |  | TE_V00_180821_190618_LB0018
LTGrad6 | 2018-08-21 | 705-10 | 2019-06-18 | 1944-6 | -32.2759 | 37.289 | 1695 | LTiB11: 3D00000058546D41 |  | Dead | Took water
| 23:49 |  | 15:08 |  |  |  |  | LTiB12: C8000000584B8741 | 1 | -771 |  | TE_V00_180821_190618_LB0012
LTchB1 | 2018-08-24 | 708-13 | 2019-06-18 | 1944-6 | -32.2758 | 37.2889 | 1694 | LTiB31: 7A00000058548F41 | 2 | -1036 |  | TE_V00_180824_190618_LB0031
| 22:27 |  | 14:38 |  |  |  |  | LTiB32: 72000000584D9B41 | 2 | -652 |  | TE_V00_180824_190618_LB0032
[8 empty] | LTiB33: E7000000584A4B41 | 2 | -887 |  | TE_V00_180824_190618_LB0033
[8 empty] | LTiB34: 9200000058524A41 | 2 | -886 |  | TE_V00_180824_190618_LB0034
[8 empty] | LTiB35: 1B00000058485441 | 2 | -974 |  | TE_V00_180824_190618_LB0035
[8 empty] | LTiB36: F200000058557E41 | 2 | -855 |  | TE_V00_180824_190618_LB0036
LTNKE27007 | 2018-08-20 | 703-8 | 2019-06-18 | 1944-6 | -32.2758 | 37.289 | 1694 | 27007 | 1.5 | 556 |  | TE_V00_180820_190618_LN27007
| 2:24 |  | 14:51
White Castle
HTW014 | 2018-08-15 | 700-5 | 2019-06-14 | 1941-3 | -32.2811 | 37.2897 | 1707 | A: 2256023 | 14 | 914 |  | WC_V00_180815_190614_HW014A
| 22:55 |  | 11:51 |  |  |  |  | B: 20153597 | 6 | Memory Full | Stopped the 15/06/19 | WC_V00_180815_190614_HW014B
HTWN019 | 2018-08-16 | 700-5 | 2019-06-18 | 1944-6 | -32.281 | 37.2898 | 1720 | ONSET T° : 10858920 | 4 | 192 |  | WC_V00_180816_190618_HWN019
| 0:37 |  | 15:33 |  |  |  |  | Tip: 2016-002-019 (Type J)
HTNKE29016 | 2018-08-13 | 698-3 | 2019-06-18 | 1944-6 | -32.2811 | 37.2899 | 1711 | 29016 | 1.5 | 80 |  | WC_V00_180813_190618_HN29016
| 23:42 |  | 15:33
Y3
HTW010 | 2018-08-21 | 704-9 | 2019-07-01 | 1956-18 | -32.2779 | 37.2918 | 1725 | A: 20153594 | 6 | Full | Stopped the 13/03/19 | Y3_V00_180821_190701_HW010A
| 0:21 |  | 17:00 |  |  |  |  | B: 2256905 | 14 | 839 |  | Y3_V00_180821_190701_HW010B